## Slide 1: gb (Green Building) EPC v1.0 Tutorial
Yun Joon Jung yjung77@gatech.edu
Mengyue Liao myliao@gatech.edu
Jan, 2018

## Slide 2
Table of Contents
2. Set-up in Revit
2.1 Material
2.2 Space
2.3 Thermal zone
2.4 Cooling/Heating Set point
2.5 gbXML export
1. Introduction
1.1 What is gbXML?
1.2 What is gbEPC?
3. gbEPC
3.1 Python 2.7 installation
3.2 gbEPC implementation
3.3 Available parsing parameters
3.4 Bugs found in Revit
3.5 Version info

## Slide 3
1.1 Intro - What is gbXML?
Reference: [1] https://www.w3schools.com/xml/xml_whatis.asp [2]http://www.gbxml.org/About_GreenBuildingXML_gbXML
What is XML (eXtensible Markup Language)?
• XML is a markup language
→ Markup language is a language that annotates text so that the computer can manipulate that text.
• XML was designed to store and transport data
2. What is gbXML (Green Building XML)?
• gbXML was developed to facilitate the transfer of building information stored in CAD-based building information models, enabling interoperability between disparate building design and engineering analysis software tools
1
Example:
<University> Georgia Tech </University>
<Department> Architecture </Department>
Fig 1. gbXML instance file
2

## Slide 4
1.2 Intro - What is gbEPC?
• gbEPC was developed to automate EPC simulation via gbXML
• gbEPC is a python code which can parse EPC input parameters from gbXML
EPC
Fig 2. gbEPC schematic diagram
gbEPC
Export

## Slide 5
2.1 Revit – Material Thermal Properties
• It doesn’t matter how many construction types exist because the gbXMLtoEPC was designed to use weighted average U-values (Utotal=(U1A1+U2A2+…)/Atotal) – same as absorption coefficient and Solar transmittance.
1. Hit Edit Type
2. Make sure thermal properties exist and are correct
Fig 3. Material set-up in Revit

## Slide 6
2.1 Revit – Material Thermal Properties
• If you want to customize the building wall, please follow the steps above.
1. Hit Edit Type
2. If you click material, you can customize the wall
3. Hit material
4. Before customizing the wall, check the thermal information
Fig 4. Material customizing process

## Slide 7
2.2 Revit – Space
• If space tag is not shown, click Space Tag (blue box) → Annotations → Mechanical → Space Tag
1. Click Space and then set up individual space
2. Space tag is shown after setting up space
Fig 5. Space set-up in Revit

## Slide 8
2.2 Revit – Space
• You should designate individual space one by one.
1. Click each space
2. Select Heated or Cooled/Unconditioned
4. Click all of override and check analytic construction is “Building”
3. Select space type and Check if internal gains are correct. You can also create new space type by hitting green box left.
Fig 6. Space type set-up in Revit

## Slide 9
2.3 Revit – Thermal zone
• More detail tutorial is available in the following link (https://www.youtube.com/watch?v=ftZkY6pmNGQ&index=5&list=LLptFwQQSnDAcmIZXPY1EwaA)
1. Click Zone to set up thermal zone
2. If two spaces are same thermal zones, click the two spaces and then hit Finish Ending Zone
Fig 7. Thermal zone set-up in Revit

## Slide 10
2.4 Revit – Cooling/Heating set point
1. Click thermal zone
2. Click cooling/heating information
3. Set up cooling set point
4. Set up heating set point
Fig 8. Cooling/Heating set point set-up in Revit

## Slide 11
2.5 Revit – Export gbXML
• You must follow 2.4 (Export gbXML) section because if UseRoom/Space Volume is used, Roof’s construction type info are not exported.
To have Export gbXML window, click File -> Export -> gbXML
Click Edit
Fig 9. gbXML export in Revit

## Slide 12
2.5 Revit – Export gbXML
Must select Use Building Elements
Must select New Construction
Click Edit
Must be checked
• After finishing this step, click OK and then gbXML file is exported
Must select Spaces
Fig 10. gbXML export in Revit

## Slide 13
3.1 gbEPC - Python installation
• First, it is required to install Python 2.7. You can download Python 2.7 for free in the link (https://www.python.org/).
• Detail python install tutorial is available in the link (https://www.youtube.com/watch?v=QYUBz4mrnFU).
1. Download Python 2.7 version
Fig 11. Python homepage

## Slide 14
3.1 gbEPC - Python installation
• Open command prompt window (Start → type command prompt)
• Install lxml, numpy and openpyxl modules using pip install
→ file directory (green box) doesn’t matter when pip install is used
→ type “pip install lxml”, “pip install numpy” and “pip install openpyxl”
→ After succeeded, “Successfully installed (module name)” message is shown
Fig 12. Command prompt window

## Slide 15
3.2 gbEPC – gbEPC implementation
Fig 14. gbEPC implementation
2. gbXML file: Browse your gbXML file exported from Revit
3. Xsd file: xsd extension means gbXML schema file. Browse “GreenBuildingXML_Ver6.01.sxd” file. The file is in the code folder
4. EPC spreadsheet file: Browse “EPC_Input.xlsx” file. The parsing results are saved in EPC_ Input file. However, The file is not actual EPC file. Thus, users have to copy the results to the actual EPC file.
1. Open gbEPC python code and run the code

## Slide 16
3.3 gbEPC – Available parsing parameters
• Total ventilated volume, ACH, Zone, Temp schedule, Opaque/window/roof/below grade, Construction info and heat capacity can be parsed
Fig 13. gbEPC Testcase1 result

## Slide 17
3.3 gbEPC – gbEPC implementation
Fig 15. gbEPC implementation result
• gbEPC results are automatically saved into EPC_Input.xlsx file.

## Slide 18
3.4 gbEPC – Bugs found in Revit
• In Revit 2018, there were a few bugs found
1. Ellipse with Trim window
2. Area per person
This window doesn’t create gbXML correctly. Thus, it creates an error in gbEPC code
Area per person information is not exported into gbXML
3. Curtain wall door
Curtain wall is OK to use but curtain wall door is not exported into gbXML